## Summary
17037 Field Failure Tally by Property — 2026-08-15 14:33 UTC
Scope: devices on FW 17037, Installed=TRUE, excluding Production Inventory/Provisioned/Start groups. Source: ThingsBoard live scan.
Property | Total Failed | Casualty (metered pre-FW) | No Water | Pre-existing dead | Pulled meter (OLD tag) | Unclassified | Failed Cal | Calibrating | TI Silent | HW Flag
Auburn MHC
Aurora MHC
Azulejo
Broadway MHP DesMoines
CJ
Cactus Flower
Canada
Coleman Village
Crystal Acres MHC
Grand Valley Estates MHC
Highlands MHC
Hillview MHC
Hoosier Park MHC
Ibiza Village2
John Alexander ADU 5YR
Kingsbrook MHC
Lafountaine MHC
Little Acres MHC
Maple Run MHP
Mountaineer Village MHC
Oak Forest Estate MHC
PW2
Paola MHC
Parker MHC
Parkview MHP
Pleasant Acres
River Bend
Roosevelt MHC
Rustic Acres MHC
Shady Lane MHP
Tuttle Estates MHC
Virginia Beach
TOTAL

## Detail
Device ID | Property | Apartment | State | Category | No Water | Gain | Pipe Type | Pipe Size | HW Flag | spiInitFail
79466692 | Auburn MHC | 3 | Failed Cal | Pre-existing dead (never metered) | false | 55 | L | ½ |  | 0
70261761 | Aurora MHC | 159 | Failed Cal | Casualty (metered pre-FW) | false | 41 | M | ½ |  | 0
77057885 | Aurora MHC | 33 | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ½ |  | 0
72717897 | Azulejo | 1502 | Metering | Casualty (metered pre-FW) | false | 32 | X | ¾ | Y | 5819
75367704 | Broadway MHP DesMoines | 4 | Failed Cal | Casualty (metered pre-FW) | false | 26 | X | ½ |  | 0
75374122 | CJ | 116 | TI Silent | Casualty (metered pre-FW) | false | 0 | L | 1 |  | 0
75362382 | Cactus Flower | 9 and Laundry | Failed Cal | Casualty (metered pre-FW) | false | 55 | L | ¾ |  | 0
77054759 | Canada | D1TC | Failed Cal | Casualty (metered pre-FW) | false | 32 | X | ½ |  | 0
77061481 | Canada | B18TC | Failed Cal | Casualty (metered pre-FW) | false | 55 | M | ½ |  | 0
70261902 | Coleman Village | 179 | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
70265408 | Crystal Acres MHC | 7-OLD | TI Silent | Pulled meter (OLD/REMOVED tag) | false | 0 | P | ¾ | Y | 0
72379413 | Crystal Acres MHC | 16-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | X | ¾ |  | 0
72384678 | Crystal Acres MHC | 13 | TI Silent | Unclassified | false | 0 | X | ¾ |  | 0
75360113 | Grand Valley Estates MHC | 10-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75364495 | Grand Valley Estates MHC | 23-DOUBLETREE-CT | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75365286 | Grand Valley Estates MHC | 8-SHENNADOH-DR | Failed Cal | No Water flagged | true | 53 | X | ¾ |  | 0
75365757 | Grand Valley Estates MHC | 13-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75366441 | Grand Valley Estates MHC | 26-DOUBLETREE-CT | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75366607 | Grand Valley Estates MHC | 15-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75366805 | Grand Valley Estates MHC | 7-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75367852 | Grand Valley Estates MHC | 19-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75368298 | Grand Valley Estates MHC | 20-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75369007 | Grand Valley Estates MHC | 5-DOUBLETREE-DR | Calibrating | Unclassified | false | 40 | X | ¾ |  | 0
75369189 | Grand Valley Estates MHC | 30-STONE | Failed Cal | No Water flagged | true | 47 | X | ¾ |  | 0
75370591 | Grand Valley Estates MHC | 22-DOUBLETREE-CT | Calibrating | No Water flagged | true | 40 | X | ¾ |  | 0
75372563 | Grand Valley Estates MHC | 17-SONOMAVALLEY-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75372803 | Grand Valley Estates MHC | 48-IMPERIALVALLEY-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75373421 | Grand Valley Estates MHC | 1-DOUBLETREE-CT | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75373694 | Grand Valley Estates MHC | 27-DOUBLETREE-CT | Failed Cal | No Water flagged | true | 55 | P | ¾ |  | 0
75374452 | Grand Valley Estates MHC | 3-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75374932 | Grand Valley Estates MHC | 2-DOUBLETREE-CT | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
79460844 | Grand Valley Estates MHC | 18-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
79461677 | Grand Valley Estates MHC | 9-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
79462147 | Grand Valley Estates MHC | 12-SHENNADOH-DR | Failed Cal | Pre-existing dead (never metered) | false | 50 | X | ¾ |  | 0
79465769 | Grand Valley Estates MHC | 3-DOUBLETREE-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
79466619 | Grand Valley Estates MHC | 5-SHENNADOH-DR | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
75368587 | Highlands MHC | 9 | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ¾ |  | 0
75372761 | Highlands MHC | 11A | Failed Cal | Casualty (metered pre-FW) | false | 38 | P | ¾ |  | 0
72716543 | Hillview MHC | 13 | Failed Cal | Casualty (metered pre-FW) | false | 55 | P | ½ |  | 0
72723010 | Hillview MHC | 4 | Failed Cal | Casualty (metered pre-FW) | false | 55 | P | ¾ |  | 0
70261936 | Hoosier Park MHC | 6-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | P | ¾ |  | 0
70264195 | Ibiza Village2 | 1-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | M | 1 |  | 0
70265440 | Ibiza Village2 | 8-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | M | 1 |  | 0
70268980 | Ibiza Village2 | 17-OLD | TI Silent | Pulled meter (OLD/REMOVED tag) | false | 0 | M | 1 |  | 0
72381070 | Ibiza Village2 | 15-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | M | 1 |  | 0
72391756 | Ibiza Village2 | 2-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | M | 1 |  | 0
70263080 | John Alexander ADU 5YR |  | Failed Cal | Casualty (metered pre-FW) | false | 41 | X | ¾ |  | 0
70260011 | Kingsbrook MHC | 596MI | TI Silent | Casualty (metered pre-FW) | false | 0 | X | ¾ |  | 0
75367050 | Kingsbrook MHC | 778AM | Failed Cal | Pre-existing dead (never metered) | false | 55 | M | ½ |  | 0
72380866 | Lafountaine MHC | 125CC | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ¾ |  | 0
72723051 | Little Acres MHC | 9 | Calibrating | Unclassified | false | 40 | P | ½ |  | 0
70266901 | Maple Run MHP | 11 | Failed Cal | Casualty (metered pre-FW) | false | 55 | P | ¾ |  | 0
72720776 | Mountaineer Village MHC |  | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ¾ |  | 0
77053348 | Oak Forest Estate MHC | 2-REMOVED | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | P | ¾ |  | 0
70266620 | PW2 | 3124LINDA | Failed Cal | No Water flagged | true | 38 | X | ¾ |  | 0
79461560 | Paola MHC | 23 | Metering | Unclassified | false | 38 | X | ½ |  | 0
70270440 | Parker MHC | 11 | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ¾ |  | 0
77059808 | Parkview MHP | C53OFFICE | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ½ |  | 0
75363810 | Pleasant Acres | 33-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | X | ¾ |  | 0
75371151 | River Bend | 23 | Failed Cal | Casualty (metered pre-FW) | false | 29 | X | ¾ |  | 0
75362978 | Roosevelt MHC | 140 | Failed Cal | Casualty (metered pre-FW) | false | 47 | X | ¾ |  | 0
75367696 | Roosevelt MHC | 43 | Failed Cal | Casualty (metered pre-FW) | false | 55 | P | ¾ |  | 0
75370492 | Roosevelt MHC | 42 | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ¾ |  | 0
75371425 | Roosevelt MHC | 107 | Calibrating | Unclassified | false | 40 | X | ¾ |  | 0
75373611 | Roosevelt MHC | 83 | Failed Cal | Pre-existing dead (never metered) | false | 55 | X | ¾ |  | 0
72382011 | Rustic Acres MHC | 50 | Calibrating | Unclassified | false | 55 | X | ¾ |  | 0
79454458 | Rustic Acres MHC | 41 | Calibrating | Unclassified | false | 40 | X | ¾ |  | 0
70269798 | Shady Lane MHP | 40 Maple Lane APT #3 | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ¾ |  | 0
75366011 | Shady Lane MHP | 96 Shady Lane | Metering | Unclassified | false | 26 | X | ¾ |  | 0
72723994 | Tuttle Estates MHC | 3 | Metering | Unclassified | false | 44 | X | ¾ |  | 0
72379926 | Virginia Beach | 105 | Failed Cal | Casualty (metered pre-FW) | false | 50 | X | ¾ |  | 0
72379959 | Virginia Beach | 107 | Failed Cal | No Water flagged | true | 55 | X | ¾ |  | 0
72381047 | Virginia Beach | 91-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | X | ¾ |  | 0
72383043 | Virginia Beach | 243-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | X | ¾ |  | 0
72383167 | Virginia Beach | 144-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 35 | C | ¾ |  | 0
72383621 | Virginia Beach | 5-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | X | ¾ |  | 0
72384314 | Virginia Beach | 40 | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ¾ |  | 0
72385097 | Virginia Beach | 211 | Metering | Casualty (metered pre-FW) | false | 40 | X | ¾ | Y | 10624
72385246 | Virginia Beach | 9 | Metering | Unclassified | false | 38 | X | ¾ |  | 0
72386145 | Virginia Beach | 201-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | X | ¾ |  | 0
72388364 | Virginia Beach | 153-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | X | ¾ |  | 0
72389966 | Virginia Beach | 99 | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ¾ |  | 0
72390816 | Virginia Beach | 239 | Calibrating | No Water flagged | true | 40 | X | ¾ |  | 0
72392655 | Virginia Beach | 234-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | X | ¾ |  | 0
72392754 | Virginia Beach | 133 | Metering | Unclassified | false | 35 | X | ¾ |  | 0
75372530 | Virginia Beach | 60 | Failed Cal | Casualty (metered pre-FW) | false | 55 | X | ¾ |  | 0
79454276 | Virginia Beach | 10-OLD | Failed Cal | Pulled meter (OLD/REMOVED tag) | false | 55 | X | ¾ |  | 0