## README
L-FACTOR TABLE OPTIMIZATION — RUN CHECK SHEET
Workflow — the iterative loop (per size/type combo)
1. RUN: one steady flow rate, known TRUE volume, 10-20 gal (>= 90 s at high rates). >= 2 min zero-flow gap between runs. Fill the YELLOW cells on the matching row: Date, Start, End (local hh:mm, rough ok), True Vol (gal), Temp (F), and APPLIED LF = the lFactor live on the devices during the run (table value or attr override).
2. INGEST (prompt Claude): Claude reads each device's meterVal /eventMeterDelta for the usage event (Meter Vol), analyzes tnorm for statistical variation BETWEEN devices (tnorm CoV %, outliers noted), and fills the GRAY columns. Vol Err % and RECOMMENDED LF then compute in-sheet: Lf' = SQRT(4 + (AppliedLf^2 - 4) x (MeterVol/TrueVol)^2). Claude sanity-checks the recommendation against the tnorm-based fit before you act on it.
3. APPLY: set lFactor to the Recommended Lf (attr = value x 1000, e.g. 2.135 -> 2135). Run the next iteration row; repeat until Vol Err % is inside tolerance (~+/-1%). Final value -> Optimized Lf table.
4. Claude maintains 'Lf Tables': Optimized Lf per converged cell; the DELTA table is the firmware change order. Turbulent rates (3/5/10) drive Lf; 0.5/1 gpm rows measure the laminar profile deviation and are NOT fed into Lf.
Color key
YELLOW = you fill. GRAY-HEADER columns = Claude fills from TB (leave blank). BLUE text = hardcoded input values. Example row is light blue.
Rules / assumptions
- Ref GPM is computed from True Volume / (End-Start). Runs must not cross midnight (time math is same-day).
- Fit uses raw tnorm vs reference flow, so on-device L-factor/flowRateCoefficient during the run does NOT contaminate the fit.
- Lf is fitted on turbulent points (3/5/10 gpm). 0.5/1 gpm rows measure the laminar/transitional profile deviation (k(Re) candidate), and are excluded from the Lf fit.
- Record water temp: flow scales as c(T)^2, ~1% per 4 F near room temp.
- Current-table values on 'Lf Tables' transcribed from DuneFW_L5_2 Core/Src/measure.c lFactorsM/pipeDiameters @ commit efe997a (source: user's firmware repo).
- Rigs sheet maps size/type combo -> TB device IDs; fill it for any new rig before its first run.

## Check Sheet
Run ID | Size | Type | Material | Target GPM | Iter | Date | Start (hh:mm:ss) | End (hh:mm:ss) | True Vol (gal) | Temp (F) | Applied Lf | Notes | Ref GPM | Devices n | Mean tnorm (ps) | tnorm CoV % | Meter Vol (gal) | Vol Err % | Recommended Lf | Ingested | Status
EXAMPLE | 3/4 | P | PVC-40 | 4.22 | - | 8/7/2026 | 16:21 | 16:21 | 1.9 | 72 | 2.255 | EXAMPLE — real 8/7 run (M-constants era); vol est. from ref rate |  | 6 | 13893 | 1.6% | 1.963 |  |  | 8/7/2026 | DONE
P-3/4-2-TRIAL | 3/4 | P | PVC-40 | 2 | - | 8/8/2026 | 16:20 | 16:22 | 10 |  | 2.211 | TRIAL 8/8am: ghost-config storm discovered; coverage 52% - excluded from fit |  | 6 | 7100 | 52% | 5.37 |  |  | 8/8/2026 | DONE
P-3/4-2-x1 | 3/4 | P | PVC-40 | 2 | 1 | 8/8/2026 | 18:55 | 19:00 | 10 |  | 2.211 | post-17031 clean run; billing mean +0.2%; ad-hoc rate (no 2gpm grid slot) |  | 6 | 6800 | 100% | 10.02 |  |  | 8/8/2026 | DONE
K-3/8-0.5-i1 | 3/8 | K | Copper K | 0.5 | 1
K-3/8-0.5-i2 | 3/8 | K | Copper K | 0.5 | 2
K-3/8-0.5-i3 | 3/8 | K | Copper K | 0.5 | 3
K-3/8-1-i1 | 3/8 | K | Copper K | 1 | 1
K-3/8-1-i2 | 3/8 | K | Copper K | 1 | 2
K-3/8-1-i3 | 3/8 | K | Copper K | 1 | 3
K-3/8-3-i1 | 3/8 | K | Copper K | 3 | 1
K-3/8-3-i2 | 3/8 | K | Copper K | 3 | 2
K-3/8-3-i3 | 3/8 | K | Copper K | 3 | 3
K-3/8-5-i1 | 3/8 | K | Copper K | 5 | 1
K-3/8-5-i2 | 3/8 | K | Copper K | 5 | 2
K-3/8-5-i3 | 3/8 | K | Copper K | 5 | 3
K-3/8-10-i1 | 3/8 | K | Copper K | 10 | 1
K-3/8-10-i2 | 3/8 | K | Copper K | 10 | 2
K-3/8-10-i3 | 3/8 | K | Copper K | 10 | 3
L-3/8-0.5-i1 | 3/8 | L | Copper L | 0.5 | 1
L-3/8-0.5-i2 | 3/8 | L | Copper L | 0.5 | 2
L-3/8-0.5-i3 | 3/8 | L | Copper L | 0.5 | 3
L-3/8-1-i1 | 3/8 | L | Copper L | 1 | 1
L-3/8-1-i2 | 3/8 | L | Copper L | 1 | 2
L-3/8-1-i3 | 3/8 | L | Copper L | 1 | 3
L-3/8-3-i1 | 3/8 | L | Copper L | 3 | 1
L-3/8-3-i2 | 3/8 | L | Copper L | 3 | 2
L-3/8-3-i3 | 3/8 | L | Copper L | 3 | 3
L-3/8-5-i1 | 3/8 | L | Copper L | 5 | 1
L-3/8-5-i2 | 3/8 | L | Copper L | 5 | 2
L-3/8-5-i3 | 3/8 | L | Copper L | 5 | 3
L-3/8-10-i1 | 3/8 | L | Copper L | 10 | 1
L-3/8-10-i2 | 3/8 | L | Copper L | 10 | 2
L-3/8-10-i3 | 3/8 | L | Copper L | 10 | 3
M-3/8-0.5-i1 | 3/8 | M | Copper M | 0.5 | 1
M-3/8-0.5-i2 | 3/8 | M | Copper M | 0.5 | 2
M-3/8-0.5-i3 | 3/8 | M | Copper M | 0.5 | 3
M-3/8-1-i1 | 3/8 | M | Copper M | 1 | 1
M-3/8-1-i2 | 3/8 | M | Copper M | 1 | 2
M-3/8-1-i3 | 3/8 | M | Copper M | 1 | 3
M-3/8-3-i1 | 3/8 | M | Copper M | 3 | 1
M-3/8-3-i2 | 3/8 | M | Copper M | 3 | 2
M-3/8-3-i3 | 3/8 | M | Copper M | 3 | 3
M-3/8-5-i1 | 3/8 | M | Copper M | 5 | 1
M-3/8-5-i2 | 3/8 | M | Copper M | 5 | 2
M-3/8-5-i3 | 3/8 | M | Copper M | 5 | 3
M-3/8-10-i1 | 3/8 | M | Copper M | 10 | 1
M-3/8-10-i2 | 3/8 | M | Copper M | 10 | 2
M-3/8-10-i3 | 3/8 | M | Copper M | 10 | 3
P-3/8-0.5-i1 | 3/8 | P | PVC-40 | 0.5 | 1
P-3/8-0.5-i2 | 3/8 | P | PVC-40 | 0.5 | 2
P-3/8-0.5-i3 | 3/8 | P | PVC-40 | 0.5 | 3
P-3/8-1-i1 | 3/8 | P | PVC-40 | 1 | 1
P-3/8-1-i2 | 3/8 | P | PVC-40 | 1 | 2
P-3/8-1-i3 | 3/8 | P | PVC-40 | 1 | 3
P-3/8-3-i1 | 3/8 | P | PVC-40 | 3 | 1
P-3/8-3-i2 | 3/8 | P | PVC-40 | 3 | 2
P-3/8-3-i3 | 3/8 | P | PVC-40 | 3 | 3
P-3/8-5-i1 | 3/8 | P | PVC-40 | 5 | 1
P-3/8-5-i2 | 3/8 | P | PVC-40 | 5 | 2
P-3/8-5-i3 | 3/8 | P | PVC-40 | 5 | 3
P-3/8-10-i1 | 3/8 | P | PVC-40 | 10 | 1
P-3/8-10-i2 | 3/8 | P | PVC-40 | 10 | 2
P-3/8-10-i3 | 3/8 | P | PVC-40 | 10 | 3
X-3/8-0.5-i1 | 3/8 | X | PEX-A | 0.5 | 1
X-3/8-0.5-i2 | 3/8 | X | PEX-A | 0.5 | 2
X-3/8-0.5-i3 | 3/8 | X | PEX-A | 0.5 | 3
X-3/8-1-i1 | 3/8 | X | PEX-A | 1 | 1
X-3/8-1-i2 | 3/8 | X | PEX-A | 1 | 2
X-3/8-1-i3 | 3/8 | X | PEX-A | 1 | 3
X-3/8-3-i1 | 3/8 | X | PEX-A | 3 | 1
X-3/8-3-i2 | 3/8 | X | PEX-A | 3 | 2
X-3/8-3-i3 | 3/8 | X | PEX-A | 3 | 3
X-3/8-5-i1 | 3/8 | X | PEX-A | 5 | 1
X-3/8-5-i2 | 3/8 | X | PEX-A | 5 | 2
X-3/8-5-i3 | 3/8 | X | PEX-A | 5 | 3
X-3/8-10-i1 | 3/8 | X | PEX-A | 10 | 1
X-3/8-10-i2 | 3/8 | X | PEX-A | 10 | 2
X-3/8-10-i3 | 3/8 | X | PEX-A | 10 | 3
p-3/8-0.5-i1 | 3/8 | p | PVC-80 | 0.5 | 1
p-3/8-0.5-i2 | 3/8 | p | PVC-80 | 0.5 | 2
p-3/8-0.5-i3 | 3/8 | p | PVC-80 | 0.5 | 3
p-3/8-1-i1 | 3/8 | p | PVC-80 | 1 | 1
p-3/8-1-i2 | 3/8 | p | PVC-80 | 1 | 2
p-3/8-1-i3 | 3/8 | p | PVC-80 | 1 | 3
p-3/8-3-i1 | 3/8 | p | PVC-80 | 3 | 1
p-3/8-3-i2 | 3/8 | p | PVC-80 | 3 | 2
p-3/8-3-i3 | 3/8 | p | PVC-80 | 3 | 3
p-3/8-5-i1 | 3/8 | p | PVC-80 | 5 | 1
p-3/8-5-i2 | 3/8 | p | PVC-80 | 5 | 2
p-3/8-5-i3 | 3/8 | p | PVC-80 | 5 | 3
p-3/8-10-i1 | 3/8 | p | PVC-80 | 10 | 1
p-3/8-10-i2 | 3/8 | p | PVC-80 | 10 | 2
p-3/8-10-i3 | 3/8 | p | PVC-80 | 10 | 3
x-3/8-0.5-i1 | 3/8 | x | PEX-B | 0.5 | 1
x-3/8-0.5-i2 | 3/8 | x | PEX-B | 0.5 | 2
x-3/8-0.5-i3 | 3/8 | x | PEX-B | 0.5 | 3
x-3/8-1-i1 | 3/8 | x | PEX-B | 1 | 1
x-3/8-1-i2 | 3/8 | x | PEX-B | 1 | 2
x-3/8-1-i3 | 3/8 | x | PEX-B | 1 | 3
x-3/8-3-i1 | 3/8 | x | PEX-B | 3 | 1
x-3/8-3-i2 | 3/8 | x | PEX-B | 3 | 2
x-3/8-3-i3 | 3/8 | x | PEX-B | 3 | 3
x-3/8-5-i1 | 3/8 | x | PEX-B | 5 | 1
x-3/8-5-i2 | 3/8 | x | PEX-B | 5 | 2
x-3/8-5-i3 | 3/8 | x | PEX-B | 5 | 3
x-3/8-10-i1 | 3/8 | x | PEX-B | 10 | 1
x-3/8-10-i2 | 3/8 | x | PEX-B | 10 | 2
x-3/8-10-i3 | 3/8 | x | PEX-B | 10 | 3
B-3/8-0.5-i1 | 3/8 | B | B (.815) | 0.5 | 1
B-3/8-0.5-i2 | 3/8 | B | B (.815) | 0.5 | 2
B-3/8-0.5-i3 | 3/8 | B | B (.815) | 0.5 | 3
B-3/8-1-i1 | 3/8 | B | B (.815) | 1 | 1
B-3/8-1-i2 | 3/8 | B | B (.815) | 1 | 2
B-3/8-1-i3 | 3/8 | B | B (.815) | 1 | 3
B-3/8-3-i1 | 3/8 | B | B (.815) | 3 | 1
B-3/8-3-i2 | 3/8 | B | B (.815) | 3 | 2
B-3/8-3-i3 | 3/8 | B | B (.815) | 3 | 3
B-3/8-5-i1 | 3/8 | B | B (.815) | 5 | 1
B-3/8-5-i2 | 3/8 | B | B (.815) | 5 | 2
B-3/8-5-i3 | 3/8 | B | B (.815) | 5 | 3
B-3/8-10-i1 | 3/8 | B | B (.815) | 10 | 1
B-3/8-10-i2 | 3/8 | B | B (.815) | 10 | 2
B-3/8-10-i3 | 3/8 | B | B (.815) | 10 | 3
b-3/8-0.5-i1 | 3/8 | b | b (.825) | 0.5 | 1
b-3/8-0.5-i2 | 3/8 | b | b (.825) | 0.5 | 2
b-3/8-0.5-i3 | 3/8 | b | b (.825) | 0.5 | 3
b-3/8-1-i1 | 3/8 | b | b (.825) | 1 | 1
b-3/8-1-i2 | 3/8 | b | b (.825) | 1 | 2
b-3/8-1-i3 | 3/8 | b | b (.825) | 1 | 3
b-3/8-3-i1 | 3/8 | b | b (.825) | 3 | 1
b-3/8-3-i2 | 3/8 | b | b (.825) | 3 | 2
b-3/8-3-i3 | 3/8 | b | b (.825) | 3 | 3
b-3/8-5-i1 | 3/8 | b | b (.825) | 5 | 1
b-3/8-5-i2 | 3/8 | b | b (.825) | 5 | 2
b-3/8-5-i3 | 3/8 | b | b (.825) | 5 | 3
b-3/8-10-i1 | 3/8 | b | b (.825) | 10 | 1
b-3/8-10-i2 | 3/8 | b | b (.825) | 10 | 2
b-3/8-10-i3 | 3/8 | b | b (.825) | 10 | 3
C-3/8-0.5-i1 | 3/8 | C | C | 0.5 | 1
C-3/8-0.5-i2 | 3/8 | C | C | 0.5 | 2
C-3/8-0.5-i3 | 3/8 | C | C | 0.5 | 3
C-3/8-1-i1 | 3/8 | C | C | 1 | 1
C-3/8-1-i2 | 3/8 | C | C | 1 | 2
C-3/8-1-i3 | 3/8 | C | C | 1 | 3
C-3/8-3-i1 | 3/8 | C | C | 3 | 1
C-3/8-3-i2 | 3/8 | C | C | 3 | 2
C-3/8-3-i3 | 3/8 | C | C | 3 | 3
C-3/8-5-i1 | 3/8 | C | C | 5 | 1
C-3/8-5-i2 | 3/8 | C | C | 5 | 2
C-3/8-5-i3 | 3/8 | C | C | 5 | 3
C-3/8-10-i1 | 3/8 | C | C | 10 | 1
C-3/8-10-i2 | 3/8 | C | C | 10 | 2
C-3/8-10-i3 | 3/8 | C | C | 10 | 3
c-3/8-0.5-i1 | 3/8 | c | c | 0.5 | 1
c-3/8-0.5-i2 | 3/8 | c | c | 0.5 | 2
c-3/8-0.5-i3 | 3/8 | c | c | 0.5 | 3
c-3/8-1-i1 | 3/8 | c | c | 1 | 1
c-3/8-1-i2 | 3/8 | c | c | 1 | 2
c-3/8-1-i3 | 3/8 | c | c | 1 | 3
c-3/8-3-i1 | 3/8 | c | c | 3 | 1
c-3/8-3-i2 | 3/8 | c | c | 3 | 2
c-3/8-3-i3 | 3/8 | c | c | 3 | 3
c-3/8-5-i1 | 3/8 | c | c | 5 | 1
c-3/8-5-i2 | 3/8 | c | c | 5 | 2
c-3/8-5-i3 | 3/8 | c | c | 5 | 3
c-3/8-10-i1 | 3/8 | c | c | 10 | 1
c-3/8-10-i2 | 3/8 | c | c | 10 | 2
c-3/8-10-i3 | 3/8 | c | c | 10 | 3
K-1/2-0.5-i1 | 1/2 | K | Copper K | 0.5 | 1
K-1/2-0.5-i2 | 1/2 | K | Copper K | 0.5 | 2
K-1/2-0.5-i3 | 1/2 | K | Copper K | 0.5 | 3
K-1/2-1-i1 | 1/2 | K | Copper K | 1 | 1
K-1/2-1-i2 | 1/2 | K | Copper K | 1 | 2
K-1/2-1-i3 | 1/2 | K | Copper K | 1 | 3
K-1/2-3-i1 | 1/2 | K | Copper K | 3 | 1
K-1/2-3-i2 | 1/2 | K | Copper K | 3 | 2
K-1/2-3-i3 | 1/2 | K | Copper K | 3 | 3
K-1/2-5-i1 | 1/2 | K | Copper K | 5 | 1
K-1/2-5-i2 | 1/2 | K | Copper K | 5 | 2
K-1/2-5-i3 | 1/2 | K | Copper K | 5 | 3
K-1/2-10-i1 | 1/2 | K | Copper K | 10 | 1
K-1/2-10-i2 | 1/2 | K | Copper K | 10 | 2
K-1/2-10-i3 | 1/2 | K | Copper K | 10 | 3
L-1/2-0.5-i1 | 1/2 | L | Copper L | 0.5 | 1
L-1/2-0.5-i2 | 1/2 | L | Copper L | 0.5 | 2
L-1/2-0.5-i3 | 1/2 | L | Copper L | 0.5 | 3
L-1/2-1-i1 | 1/2 | L | Copper L | 1 | 1
L-1/2-1-i2 | 1/2 | L | Copper L | 1 | 2
L-1/2-1-i3 | 1/2 | L | Copper L | 1 | 3
L-1/2-3-i1 | 1/2 | L | Copper L | 3 | 1
L-1/2-3-i2 | 1/2 | L | Copper L | 3 | 2
L-1/2-3-i3 | 1/2 | L | Copper L | 3 | 3
L-1/2-5-i1 | 1/2 | L | Copper L | 5 | 1
L-1/2-5-i2 | 1/2 | L | Copper L | 5 | 2
L-1/2-5-i3 | 1/2 | L | Copper L | 5 | 3
L-1/2-10-i1 | 1/2 | L | Copper L | 10 | 1
L-1/2-10-i2 | 1/2 | L | Copper L | 10 | 2
L-1/2-10-i3 | 1/2 | L | Copper L | 10 | 3
M-1/2-0.5-i1 | 1/2 | M | Copper M | 0.5 | 1
M-1/2-0.5-i2 | 1/2 | M | Copper M | 0.5 | 2
M-1/2-0.5-i3 | 1/2 | M | Copper M | 0.5 | 3
M-1/2-1-i1 | 1/2 | M | Copper M | 1 | 1
M-1/2-1-i2 | 1/2 | M | Copper M | 1 | 2
M-1/2-1-i3 | 1/2 | M | Copper M | 1 | 3
M-1/2-3-i1 | 1/2 | M | Copper M | 3 | 1
M-1/2-3-i2 | 1/2 | M | Copper M | 3 | 2
M-1/2-3-i3 | 1/2 | M | Copper M | 3 | 3
M-1/2-5-i1 | 1/2 | M | Copper M | 5 | 1
M-1/2-5-i2 | 1/2 | M | Copper M | 5 | 2
M-1/2-5-i3 | 1/2 | M | Copper M | 5 | 3
M-1/2-10-i1 | 1/2 | M | Copper M | 10 | 1
M-1/2-10-i2 | 1/2 | M | Copper M | 10 | 2
M-1/2-10-i3 | 1/2 | M | Copper M | 10 | 3
P-1/2-0.5-i1 | 1/2 | P | PVC-40 | 0.5 | 1
P-1/2-0.5-i2 | 1/2 | P | PVC-40 | 0.5 | 2
P-1/2-0.5-i3 | 1/2 | P | PVC-40 | 0.5 | 3
P-1/2-1-i1 | 1/2 | P | PVC-40 | 1 | 1
P-1/2-1-i2 | 1/2 | P | PVC-40 | 1 | 2
P-1/2-1-i3 | 1/2 | P | PVC-40 | 1 | 3
P-1/2-3-i1 | 1/2 | P | PVC-40 | 3 | 1
P-1/2-3-i2 | 1/2 | P | PVC-40 | 3 | 2
P-1/2-3-i3 | 1/2 | P | PVC-40 | 3 | 3
P-1/2-5-i1 | 1/2 | P | PVC-40 | 5 | 1
P-1/2-5-i2 | 1/2 | P | PVC-40 | 5 | 2
P-1/2-5-i3 | 1/2 | P | PVC-40 | 5 | 3
P-1/2-10-i1 | 1/2 | P | PVC-40 | 10 | 1
P-1/2-10-i2 | 1/2 | P | PVC-40 | 10 | 2
P-1/2-10-i3 | 1/2 | P | PVC-40 | 10 | 3
X-1/2-0.5-i1 | 1/2 | X | PEX-A | 0.5 | 1
X-1/2-0.5-i2 | 1/2 | X | PEX-A | 0.5 | 2
X-1/2-0.5-i3 | 1/2 | X | PEX-A | 0.5 | 3
X-1/2-1-i1 | 1/2 | X | PEX-A | 1 | 1
X-1/2-1-i2 | 1/2 | X | PEX-A | 1 | 2
X-1/2-1-i3 | 1/2 | X | PEX-A | 1 | 3
X-1/2-3-i1 | 1/2 | X | PEX-A | 3 | 1
X-1/2-3-i2 | 1/2 | X | PEX-A | 3 | 2
X-1/2-3-i3 | 1/2 | X | PEX-A | 3 | 3
X-1/2-5-i1 | 1/2 | X | PEX-A | 5 | 1
X-1/2-5-i2 | 1/2 | X | PEX-A | 5 | 2
X-1/2-5-i3 | 1/2 | X | PEX-A | 5 | 3
X-1/2-10-i1 | 1/2 | X | PEX-A | 10 | 1
X-1/2-10-i2 | 1/2 | X | PEX-A | 10 | 2
X-1/2-10-i3 | 1/2 | X | PEX-A | 10 | 3
p-1/2-0.5-i1 | 1/2 | p | PVC-80 | 0.5 | 1
p-1/2-0.5-i2 | 1/2 | p | PVC-80 | 0.5 | 2
p-1/2-0.5-i3 | 1/2 | p | PVC-80 | 0.5 | 3
p-1/2-1-i1 | 1/2 | p | PVC-80 | 1 | 1
p-1/2-1-i2 | 1/2 | p | PVC-80 | 1 | 2
p-1/2-1-i3 | 1/2 | p | PVC-80 | 1 | 3
p-1/2-3-i1 | 1/2 | p | PVC-80 | 3 | 1
p-1/2-3-i2 | 1/2 | p | PVC-80 | 3 | 2
p-1/2-3-i3 | 1/2 | p | PVC-80 | 3 | 3
p-1/2-5-i1 | 1/2 | p | PVC-80 | 5 | 1
p-1/2-5-i2 | 1/2 | p | PVC-80 | 5 | 2
p-1/2-5-i3 | 1/2 | p | PVC-80 | 5 | 3
p-1/2-10-i1 | 1/2 | p | PVC-80 | 10 | 1
p-1/2-10-i2 | 1/2 | p | PVC-80 | 10 | 2
p-1/2-10-i3 | 1/2 | p | PVC-80 | 10 | 3
x-1/2-0.5-i1 | 1/2 | x | PEX-B | 0.5 | 1
x-1/2-0.5-i2 | 1/2 | x | PEX-B | 0.5 | 2
x-1/2-0.5-i3 | 1/2 | x | PEX-B | 0.5 | 3
x-1/2-1-i1 | 1/2 | x | PEX-B | 1 | 1
x-1/2-1-i2 | 1/2 | x | PEX-B | 1 | 2
x-1/2-1-i3 | 1/2 | x | PEX-B | 1 | 3
x-1/2-3-i1 | 1/2 | x | PEX-B | 3 | 1
x-1/2-3-i2 | 1/2 | x | PEX-B | 3 | 2
x-1/2-3-i3 | 1/2 | x | PEX-B | 3 | 3
x-1/2-5-i1 | 1/2 | x | PEX-B | 5 | 1
x-1/2-5-i2 | 1/2 | x | PEX-B | 5 | 2
x-1/2-5-i3 | 1/2 | x | PEX-B | 5 | 3
x-1/2-10-i1 | 1/2 | x | PEX-B | 10 | 1
x-1/2-10-i2 | 1/2 | x | PEX-B | 10 | 2
x-1/2-10-i3 | 1/2 | x | PEX-B | 10 | 3
B-1/2-0.5-i1 | 1/2 | B | B (.815) | 0.5 | 1
B-1/2-0.5-i2 | 1/2 | B | B (.815) | 0.5 | 2
B-1/2-0.5-i3 | 1/2 | B | B (.815) | 0.5 | 3
B-1/2-1-i1 | 1/2 | B | B (.815) | 1 | 1
B-1/2-1-i2 | 1/2 | B | B (.815) | 1 | 2
B-1/2-1-i3 | 1/2 | B | B (.815) | 1 | 3
B-1/2-3-i1 | 1/2 | B | B (.815) | 3 | 1
B-1/2-3-i2 | 1/2 | B | B (.815) | 3 | 2
B-1/2-3-i3 | 1/2 | B | B (.815) | 3 | 3
B-1/2-5-i1 | 1/2 | B | B (.815) | 5 | 1
B-1/2-5-i2 | 1/2 | B | B (.815) | 5 | 2
B-1/2-5-i3 | 1/2 | B | B (.815) | 5 | 3
B-1/2-10-i1 | 1/2 | B | B (.815) | 10 | 1
B-1/2-10-i2 | 1/2 | B | B (.815) | 10 | 2
B-1/2-10-i3 | 1/2 | B | B (.815) | 10 | 3
b-1/2-0.5-i1 | 1/2 | b | b (.825) | 0.5 | 1
b-1/2-0.5-i2 | 1/2 | b | b (.825) | 0.5 | 2
b-1/2-0.5-i3 | 1/2 | b | b (.825) | 0.5 | 3
b-1/2-1-i1 | 1/2 | b | b (.825) | 1 | 1
b-1/2-1-i2 | 1/2 | b | b (.825) | 1 | 2
b-1/2-1-i3 | 1/2 | b | b (.825) | 1 | 3
b-1/2-3-i1 | 1/2 | b | b (.825) | 3 | 1
b-1/2-3-i2 | 1/2 | b | b (.825) | 3 | 2
b-1/2-3-i3 | 1/2 | b | b (.825) | 3 | 3
b-1/2-5-i1 | 1/2 | b | b (.825) | 5 | 1
b-1/2-5-i2 | 1/2 | b | b (.825) | 5 | 2
b-1/2-5-i3 | 1/2 | b | b (.825) | 5 | 3
b-1/2-10-i1 | 1/2 | b | b (.825) | 10 | 1
b-1/2-10-i2 | 1/2 | b | b (.825) | 10 | 2
b-1/2-10-i3 | 1/2 | b | b (.825) | 10 | 3
C-1/2-0.5-i1 | 1/2 | C | C | 0.5 | 1
C-1/2-0.5-i2 | 1/2 | C | C | 0.5 | 2
C-1/2-0.5-i3 | 1/2 | C | C | 0.5 | 3
C-1/2-1-i1 | 1/2 | C | C | 1 | 1
C-1/2-1-i2 | 1/2 | C | C | 1 | 2
C-1/2-1-i3 | 1/2 | C | C | 1 | 3
C-1/2-3-i1 | 1/2 | C | C | 3 | 1
C-1/2-3-i2 | 1/2 | C | C | 3 | 2
C-1/2-3-i3 | 1/2 | C | C | 3 | 3
C-1/2-5-i1 | 1/2 | C | C | 5 | 1
C-1/2-5-i2 | 1/2 | C | C | 5 | 2
C-1/2-5-i3 | 1/2 | C | C | 5 | 3
C-1/2-10-i1 | 1/2 | C | C | 10 | 1
C-1/2-10-i2 | 1/2 | C | C | 10 | 2
C-1/2-10-i3 | 1/2 | C | C | 10 | 3
c-1/2-0.5-i1 | 1/2 | c | c | 0.5 | 1
c-1/2-0.5-i2 | 1/2 | c | c | 0.5 | 2
c-1/2-0.5-i3 | 1/2 | c | c | 0.5 | 3
c-1/2-1-i1 | 1/2 | c | c | 1 | 1
c-1/2-1-i2 | 1/2 | c | c | 1 | 2
c-1/2-1-i3 | 1/2 | c | c | 1 | 3
c-1/2-3-i1 | 1/2 | c | c | 3 | 1
c-1/2-3-i2 | 1/2 | c | c | 3 | 2
c-1/2-3-i3 | 1/2 | c | c | 3 | 3
c-1/2-5-i1 | 1/2 | c | c | 5 | 1
c-1/2-5-i2 | 1/2 | c | c | 5 | 2
c-1/2-5-i3 | 1/2 | c | c | 5 | 3
c-1/2-10-i1 | 1/2 | c | c | 10 | 1
c-1/2-10-i2 | 1/2 | c | c | 10 | 2
c-1/2-10-i3 | 1/2 | c | c | 10 | 3
K-3/4-0.5-i1 | 3/4 | K | Copper K | 0.5 | 1
K-3/4-0.5-i2 | 3/4 | K | Copper K | 0.5 | 2
K-3/4-0.5-i3 | 3/4 | K | Copper K | 0.5 | 3
K-3/4-1-i1 | 3/4 | K | Copper K | 1 | 1
K-3/4-1-i2 | 3/4 | K | Copper K | 1 | 2
K-3/4-1-i3 | 3/4 | K | Copper K | 1 | 3
K-3/4-3-i1 | 3/4 | K | Copper K | 3 | 1
K-3/4-3-i2 | 3/4 | K | Copper K | 3 | 2
K-3/4-3-i3 | 3/4 | K | Copper K | 3 | 3
K-3/4-5-i1 | 3/4 | K | Copper K | 5 | 1
K-3/4-5-i2 | 3/4 | K | Copper K | 5 | 2
K-3/4-5-i3 | 3/4 | K | Copper K | 5 | 3
K-3/4-10-i1 | 3/4 | K | Copper K | 10 | 1
K-3/4-10-i2 | 3/4 | K | Copper K | 10 | 2
K-3/4-10-i3 | 3/4 | K | Copper K | 10 | 3
L-3/4-0.5-i1 | 3/4 | L | Copper L | 0.5 | 1
L-3/4-0.5-i2 | 3/4 | L | Copper L | 0.5 | 2
L-3/4-0.5-i3 | 3/4 | L | Copper L | 0.5 | 3
L-3/4-1-i1 | 3/4 | L | Copper L | 1 | 1
L-3/4-1-i2 | 3/4 | L | Copper L | 1 | 2
L-3/4-1-i3 | 3/4 | L | Copper L | 1 | 3
L-3/4-3-i1 | 3/4 | L | Copper L | 3 | 1
L-3/4-3-i2 | 3/4 | L | Copper L | 3 | 2
L-3/4-3-i3 | 3/4 | L | Copper L | 3 | 3
L-3/4-5-i1 | 3/4 | L | Copper L | 5 | 1
L-3/4-5-i2 | 3/4 | L | Copper L | 5 | 2
L-3/4-5-i3 | 3/4 | L | Copper L | 5 | 3
L-3/4-10-i1 | 3/4 | L | Copper L | 10 | 1
L-3/4-10-i2 | 3/4 | L | Copper L | 10 | 2
L-3/4-10-i3 | 3/4 | L | Copper L | 10 | 3
M-3/4-0.5-i1 | 3/4 | M | Copper M | 0.5 | 1
M-3/4-0.5-i2 | 3/4 | M | Copper M | 0.5 | 2
M-3/4-0.5-i3 | 3/4 | M | Copper M | 0.5 | 3
M-3/4-1-i1 | 3/4 | M | Copper M | 1 | 1
M-3/4-1-i2 | 3/4 | M | Copper M | 1 | 2
M-3/4-1-i3 | 3/4 | M | Copper M | 1 | 3
M-3/4-3-i1 | 3/4 | M | Copper M | 3 | 1
M-3/4-3-i2 | 3/4 | M | Copper M | 3 | 2
M-3/4-3-i3 | 3/4 | M | Copper M | 3 | 3
M-3/4-5-i1 | 3/4 | M | Copper M | 5 | 1
M-3/4-5-i2 | 3/4 | M | Copper M | 5 | 2
M-3/4-5-i3 | 3/4 | M | Copper M | 5 | 3
M-3/4-10-i1 | 3/4 | M | Copper M | 10 | 1
M-3/4-10-i2 | 3/4 | M | Copper M | 10 | 2
M-3/4-10-i3 | 3/4 | M | Copper M | 10 | 3
P-3/4-0.5-i1 | 3/4 | P | PVC-40 | 0.5 | 1 | 8/9/2026 | 22:36 | 0:20 | 50 |  | 2.211 | 50gal marathon; +15.6% fleet (laminar); open-event alarm mid-run @1h (by design, once/day); billing continuity proven (meterVal delta == eventMeterDelta); sets cubic term of k(Re) |  | 6 | 1670 | 100% | 57.79 |  |  | 8/9/2026 | DONE
P-3/4-0.5-i2 | 3/4 | P | PVC-40 | 0.5 | 2
P-3/4-0.5-i3 | 3/4 | P | PVC-40 | 0.5 | 3
P-3/4-1-i1 | 3/4 | P | PVC-40 | 1 | 1 | 8/8/2026 | 22:47 | 23:37 | 50 |  | 2.211 | 50gal transitional Re~3.9k; fleet +6.7%, spread +1.7..+16.8% ('423 outlier); k(Re) anchor |  | 6 | 6700 | 100% | 53.3 |  |  | 8/8/2026 | DONE
P-3/4-1-i2 | 3/4 | P | PVC-40 | 1 | 2
P-3/4-1-i3 | 3/4 | P | PVC-40 | 1 | 3
P-3/4-3-i1 | 3/4 | P | PVC-40 | 3 | 1
P-3/4-3-i2 | 3/4 | P | PVC-40 | 3 | 2
P-3/4-3-i3 | 3/4 | P | PVC-40 | 3 | 3
P-3/4-5-i1 | 3/4 | P | PVC-40 | 5 | 1 | 8/8/2026 | 19:44 | 19:46 | 10 |  | 2.211 | 10gal short run; +1.9% = edge fraction (see i2) |  | 6 | 17500 | 100% | 10.19 |  |  | 8/8/2026 | DONE
P-3/4-5-i2 | 3/4 | P | PVC-40 | 5 | 2 | 8/8/2026 | 22:33 | 22:43 | 50 |  | 2.211 | 50gal; edges diluted; CONFIRMS Lf 2.211 @5gpm |  | 6 | 17500 | 100% | 50.08 |  |  | 8/8/2026 | DONE
P-3/4-5-i3 | 3/4 | P | PVC-40 | 5 | 3
P-3/4-10-i1 | 3/4 | P | PVC-40 | 10 | 1
P-3/4-10-i2 | 3/4 | P | PVC-40 | 10 | 2
P-3/4-10-i3 | 3/4 | P | PVC-40 | 10 | 3
X-3/4-0.5-i1 | 3/4 | X | PEX-A | 0.5 | 1
X-3/4-0.5-i2 | 3/4 | X | PEX-A | 0.5 | 2
X-3/4-0.5-i3 | 3/4 | X | PEX-A | 0.5 | 3
X-3/4-1-i1 | 3/4 | X | PEX-A | 1 | 1
X-3/4-1-i2 | 3/4 | X | PEX-A | 1 | 2
X-3/4-1-i3 | 3/4 | X | PEX-A | 1 | 3
X-3/4-3-i1 | 3/4 | X | PEX-A | 3 | 1
X-3/4-3-i2 | 3/4 | X | PEX-A | 3 | 2
X-3/4-3-i3 | 3/4 | X | PEX-A | 3 | 3
X-3/4-5-i1 | 3/4 | X | PEX-A | 5 | 1
X-3/4-5-i2 | 3/4 | X | PEX-A | 5 | 2
X-3/4-5-i3 | 3/4 | X | PEX-A | 5 | 3
X-3/4-10-i1 | 3/4 | X | PEX-A | 10 | 1
X-3/4-10-i2 | 3/4 | X | PEX-A | 10 | 2
X-3/4-10-i3 | 3/4 | X | PEX-A | 10 | 3
p-3/4-0.5-i1 | 3/4 | p | PVC-80 | 0.5 | 1
p-3/4-0.5-i2 | 3/4 | p | PVC-80 | 0.5 | 2
p-3/4-0.5-i3 | 3/4 | p | PVC-80 | 0.5 | 3
p-3/4-1-i1 | 3/4 | p | PVC-80 | 1 | 1
p-3/4-1-i2 | 3/4 | p | PVC-80 | 1 | 2
p-3/4-1-i3 | 3/4 | p | PVC-80 | 1 | 3
p-3/4-3-i1 | 3/4 | p | PVC-80 | 3 | 1
p-3/4-3-i2 | 3/4 | p | PVC-80 | 3 | 2
p-3/4-3-i3 | 3/4 | p | PVC-80 | 3 | 3
p-3/4-5-i1 | 3/4 | p | PVC-80 | 5 | 1
p-3/4-5-i2 | 3/4 | p | PVC-80 | 5 | 2
p-3/4-5-i3 | 3/4 | p | PVC-80 | 5 | 3
p-3/4-10-i1 | 3/4 | p | PVC-80 | 10 | 1
p-3/4-10-i2 | 3/4 | p | PVC-80 | 10 | 2
p-3/4-10-i3 | 3/4 | p | PVC-80 | 10 | 3
x-3/4-0.5-i1 | 3/4 | x | PEX-B | 0.5 | 1
x-3/4-0.5-i2 | 3/4 | x | PEX-B | 0.5 | 2
x-3/4-0.5-i3 | 3/4 | x | PEX-B | 0.5 | 3
x-3/4-1-i1 | 3/4 | x | PEX-B | 1 | 1
x-3/4-1-i2 | 3/4 | x | PEX-B | 1 | 2
x-3/4-1-i3 | 3/4 | x | PEX-B | 1 | 3
x-3/4-3-i1 | 3/4 | x | PEX-B | 3 | 1
x-3/4-3-i2 | 3/4 | x | PEX-B | 3 | 2
x-3/4-3-i3 | 3/4 | x | PEX-B | 3 | 3
x-3/4-5-i1 | 3/4 | x | PEX-B | 5 | 1
x-3/4-5-i2 | 3/4 | x | PEX-B | 5 | 2
x-3/4-5-i3 | 3/4 | x | PEX-B | 5 | 3
x-3/4-10-i1 | 3/4 | x | PEX-B | 10 | 1
x-3/4-10-i2 | 3/4 | x | PEX-B | 10 | 2
x-3/4-10-i3 | 3/4 | x | PEX-B | 10 | 3
B-3/4-0.5-i1 | 3/4 | B | B (.815) | 0.5 | 1
B-3/4-0.5-i2 | 3/4 | B | B (.815) | 0.5 | 2
B-3/4-0.5-i3 | 3/4 | B | B (.815) | 0.5 | 3
B-3/4-1-i1 | 3/4 | B | B (.815) | 1 | 1
B-3/4-1-i2 | 3/4 | B | B (.815) | 1 | 2
B-3/4-1-i3 | 3/4 | B | B (.815) | 1 | 3
B-3/4-3-i1 | 3/4 | B | B (.815) | 3 | 1
B-3/4-3-i2 | 3/4 | B | B (.815) | 3 | 2
B-3/4-3-i3 | 3/4 | B | B (.815) | 3 | 3
B-3/4-5-i1 | 3/4 | B | B (.815) | 5 | 1
B-3/4-5-i2 | 3/4 | B | B (.815) | 5 | 2
B-3/4-5-i3 | 3/4 | B | B (.815) | 5 | 3
B-3/4-10-i1 | 3/4 | B | B (.815) | 10 | 1
B-3/4-10-i2 | 3/4 | B | B (.815) | 10 | 2
B-3/4-10-i3 | 3/4 | B | B (.815) | 10 | 3
b-3/4-0.5-i1 | 3/4 | b | b (.825) | 0.5 | 1
b-3/4-0.5-i2 | 3/4 | b | b (.825) | 0.5 | 2
b-3/4-0.5-i3 | 3/4 | b | b (.825) | 0.5 | 3
b-3/4-1-i1 | 3/4 | b | b (.825) | 1 | 1
b-3/4-1-i2 | 3/4 | b | b (.825) | 1 | 2
b-3/4-1-i3 | 3/4 | b | b (.825) | 1 | 3
b-3/4-3-i1 | 3/4 | b | b (.825) | 3 | 1
b-3/4-3-i2 | 3/4 | b | b (.825) | 3 | 2
b-3/4-3-i3 | 3/4 | b | b (.825) | 3 | 3
b-3/4-5-i1 | 3/4 | b | b (.825) | 5 | 1
b-3/4-5-i2 | 3/4 | b | b (.825) | 5 | 2
b-3/4-5-i3 | 3/4 | b | b (.825) | 5 | 3
b-3/4-10-i1 | 3/4 | b | b (.825) | 10 | 1
b-3/4-10-i2 | 3/4 | b | b (.825) | 10 | 2
b-3/4-10-i3 | 3/4 | b | b (.825) | 10 | 3
C-3/4-0.5-i1 | 3/4 | C | C | 0.5 | 1
C-3/4-0.5-i2 | 3/4 | C | C | 0.5 | 2
C-3/4-0.5-i3 | 3/4 | C | C | 0.5 | 3
C-3/4-1-i1 | 3/4 | C | C | 1 | 1
C-3/4-1-i2 | 3/4 | C | C | 1 | 2
C-3/4-1-i3 | 3/4 | C | C | 1 | 3
C-3/4-3-i1 | 3/4 | C | C | 3 | 1
C-3/4-3-i2 | 3/4 | C | C | 3 | 2
C-3/4-3-i3 | 3/4 | C | C | 3 | 3
C-3/4-5-i1 | 3/4 | C | C | 5 | 1
C-3/4-5-i2 | 3/4 | C | C | 5 | 2
C-3/4-5-i3 | 3/4 | C | C | 5 | 3
C-3/4-10-i1 | 3/4 | C | C | 10 | 1
C-3/4-10-i2 | 3/4 | C | C | 10 | 2
C-3/4-10-i3 | 3/4 | C | C | 10 | 3
c-3/4-0.5-i1 | 3/4 | c | c | 0.5 | 1
c-3/4-0.5-i2 | 3/4 | c | c | 0.5 | 2
c-3/4-0.5-i3 | 3/4 | c | c | 0.5 | 3
c-3/4-1-i1 | 3/4 | c | c | 1 | 1
c-3/4-1-i2 | 3/4 | c | c | 1 | 2
c-3/4-1-i3 | 3/4 | c | c | 1 | 3
c-3/4-3-i1 | 3/4 | c | c | 3 | 1
c-3/4-3-i2 | 3/4 | c | c | 3 | 2
c-3/4-3-i3 | 3/4 | c | c | 3 | 3
c-3/4-5-i1 | 3/4 | c | c | 5 | 1
c-3/4-5-i2 | 3/4 | c | c | 5 | 2
c-3/4-5-i3 | 3/4 | c | c | 5 | 3
c-3/4-10-i1 | 3/4 | c | c | 10 | 1
c-3/4-10-i2 | 3/4 | c | c | 10 | 2
c-3/4-10-i3 | 3/4 | c | c | 10 | 3
K-1-0.5-i1 | 1 | K | Copper K | 0.5 | 1
K-1-0.5-i2 | 1 | K | Copper K | 0.5 | 2
K-1-0.5-i3 | 1 | K | Copper K | 0.5 | 3
K-1-1-i1 | 1 | K | Copper K | 1 | 1
K-1-1-i2 | 1 | K | Copper K | 1 | 2
K-1-1-i3 | 1 | K | Copper K | 1 | 3
K-1-3-i1 | 1 | K | Copper K | 3 | 1
K-1-3-i2 | 1 | K | Copper K | 3 | 2
K-1-3-i3 | 1 | K | Copper K | 3 | 3
K-1-5-i1 | 1 | K | Copper K | 5 | 1
K-1-5-i2 | 1 | K | Copper K | 5 | 2
K-1-5-i3 | 1 | K | Copper K | 5 | 3
K-1-10-i1 | 1 | K | Copper K | 10 | 1
K-1-10-i2 | 1 | K | Copper K | 10 | 2
K-1-10-i3 | 1 | K | Copper K | 10 | 3
L-1-0.5-i1 | 1 | L | Copper L | 0.5 | 1
L-1-0.5-i2 | 1 | L | Copper L | 0.5 | 2
L-1-0.5-i3 | 1 | L | Copper L | 0.5 | 3
L-1-1-i1 | 1 | L | Copper L | 1 | 1
L-1-1-i2 | 1 | L | Copper L | 1 | 2
L-1-1-i3 | 1 | L | Copper L | 1 | 3
L-1-3-i1 | 1 | L | Copper L | 3 | 1
L-1-3-i2 | 1 | L | Copper L | 3 | 2
L-1-3-i3 | 1 | L | Copper L | 3 | 3
L-1-5-i1 | 1 | L | Copper L | 5 | 1
L-1-5-i2 | 1 | L | Copper L | 5 | 2
L-1-5-i3 | 1 | L | Copper L | 5 | 3
L-1-10-i1 | 1 | L | Copper L | 10 | 1
L-1-10-i2 | 1 | L | Copper L | 10 | 2
L-1-10-i3 | 1 | L | Copper L | 10 | 3
M-1-0.5-i1 | 1 | M | Copper M | 0.5 | 1
M-1-0.5-i2 | 1 | M | Copper M | 0.5 | 2
M-1-0.5-i3 | 1 | M | Copper M | 0.5 | 3
M-1-1-i1 | 1 | M | Copper M | 1 | 1
M-1-1-i2 | 1 | M | Copper M | 1 | 2
M-1-1-i3 | 1 | M | Copper M | 1 | 3
M-1-3-i1 | 1 | M | Copper M | 3 | 1
M-1-3-i2 | 1 | M | Copper M | 3 | 2
M-1-3-i3 | 1 | M | Copper M | 3 | 3
M-1-5-i1 | 1 | M | Copper M | 5 | 1
M-1-5-i2 | 1 | M | Copper M | 5 | 2
M-1-5-i3 | 1 | M | Copper M | 5 | 3
M-1-10-i1 | 1 | M | Copper M | 10 | 1
M-1-10-i2 | 1 | M | Copper M | 10 | 2
M-1-10-i3 | 1 | M | Copper M | 10 | 3
P-1-0.5-i1 | 1 | P | PVC-40 | 0.5 | 1
P-1-0.5-i2 | 1 | P | PVC-40 | 0.5 | 2
P-1-0.5-i3 | 1 | P | PVC-40 | 0.5 | 3
P-1-1-i1 | 1 | P | PVC-40 | 1 | 1
P-1-1-i2 | 1 | P | PVC-40 | 1 | 2
P-1-1-i3 | 1 | P | PVC-40 | 1 | 3
P-1-3-i1 | 1 | P | PVC-40 | 3 | 1
P-1-3-i2 | 1 | P | PVC-40 | 3 | 2
P-1-3-i3 | 1 | P | PVC-40 | 3 | 3
P-1-5-i1 | 1 | P | PVC-40 | 5 | 1
P-1-5-i2 | 1 | P | PVC-40 | 5 | 2
P-1-5-i3 | 1 | P | PVC-40 | 5 | 3
P-1-10-i1 | 1 | P | PVC-40 | 10 | 1
P-1-10-i2 | 1 | P | PVC-40 | 10 | 2
P-1-10-i3 | 1 | P | PVC-40 | 10 | 3
X-1-0.5-i1 | 1 | X | PEX-A | 0.5 | 1
X-1-0.5-i2 | 1 | X | PEX-A | 0.5 | 2
X-1-0.5-i3 | 1 | X | PEX-A | 0.5 | 3
X-1-1-i1 | 1 | X | PEX-A | 1 | 1
X-1-1-i2 | 1 | X | PEX-A | 1 | 2
X-1-1-i3 | 1 | X | PEX-A | 1 | 3
X-1-3-i1 | 1 | X | PEX-A | 3 | 1
X-1-3-i2 | 1 | X | PEX-A | 3 | 2
X-1-3-i3 | 1 | X | PEX-A | 3 | 3
X-1-5-i1 | 1 | X | PEX-A | 5 | 1
X-1-5-i2 | 1 | X | PEX-A | 5 | 2
X-1-5-i3 | 1 | X | PEX-A | 5 | 3
X-1-10-i1 | 1 | X | PEX-A | 10 | 1
X-1-10-i2 | 1 | X | PEX-A | 10 | 2
X-1-10-i3 | 1 | X | PEX-A | 10 | 3
p-1-0.5-i1 | 1 | p | PVC-80 | 0.5 | 1
p-1-0.5-i2 | 1 | p | PVC-80 | 0.5 | 2
p-1-0.5-i3 | 1 | p | PVC-80 | 0.5 | 3
p-1-1-i1 | 1 | p | PVC-80 | 1 | 1
p-1-1-i2 | 1 | p | PVC-80 | 1 | 2
p-1-1-i3 | 1 | p | PVC-80 | 1 | 3
p-1-3-i1 | 1 | p | PVC-80 | 3 | 1
p-1-3-i2 | 1 | p | PVC-80 | 3 | 2
p-1-3-i3 | 1 | p | PVC-80 | 3 | 3
p-1-5-i1 | 1 | p | PVC-80 | 5 | 1
p-1-5-i2 | 1 | p | PVC-80 | 5 | 2
p-1-5-i3 | 1 | p | PVC-80 | 5 | 3
p-1-10-i1 | 1 | p | PVC-80 | 10 | 1
p-1-10-i2 | 1 | p | PVC-80 | 10 | 2
p-1-10-i3 | 1 | p | PVC-80 | 10 | 3
x-1-0.5-i1 | 1 | x | PEX-B | 0.5 | 1
x-1-0.5-i2 | 1 | x | PEX-B | 0.5 | 2
x-1-0.5-i3 | 1 | x | PEX-B | 0.5 | 3
x-1-1-i1 | 1 | x | PEX-B | 1 | 1
x-1-1-i2 | 1 | x | PEX-B | 1 | 2
x-1-1-i3 | 1 | x | PEX-B | 1 | 3
x-1-3-i1 | 1 | x | PEX-B | 3 | 1
x-1-3-i2 | 1 | x | PEX-B | 3 | 2
x-1-3-i3 | 1 | x | PEX-B | 3 | 3
x-1-5-i1 | 1 | x | PEX-B | 5 | 1
x-1-5-i2 | 1 | x | PEX-B | 5 | 2
x-1-5-i3 | 1 | x | PEX-B | 5 | 3
x-1-10-i1 | 1 | x | PEX-B | 10 | 1
x-1-10-i2 | 1 | x | PEX-B | 10 | 2
x-1-10-i3 | 1 | x | PEX-B | 10 | 3
B-1-0.5-i1 | 1 | B | B (.815) | 0.5 | 1
B-1-0.5-i2 | 1 | B | B (.815) | 0.5 | 2
B-1-0.5-i3 | 1 | B | B (.815) | 0.5 | 3
B-1-1-i1 | 1 | B | B (.815) | 1 | 1
B-1-1-i2 | 1 | B | B (.815) | 1 | 2
B-1-1-i3 | 1 | B | B (.815) | 1 | 3
B-1-3-i1 | 1 | B | B (.815) | 3 | 1
B-1-3-i2 | 1 | B | B (.815) | 3 | 2
B-1-3-i3 | 1 | B | B (.815) | 3 | 3
B-1-5-i1 | 1 | B | B (.815) | 5 | 1
B-1-5-i2 | 1 | B | B (.815) | 5 | 2
B-1-5-i3 | 1 | B | B (.815) | 5 | 3
B-1-10-i1 | 1 | B | B (.815) | 10 | 1
B-1-10-i2 | 1 | B | B (.815) | 10 | 2
B-1-10-i3 | 1 | B | B (.815) | 10 | 3
b-1-0.5-i1 | 1 | b | b (.825) | 0.5 | 1
b-1-0.5-i2 | 1 | b | b (.825) | 0.5 | 2
b-1-0.5-i3 | 1 | b | b (.825) | 0.5 | 3
b-1-1-i1 | 1 | b | b (.825) | 1 | 1
b-1-1-i2 | 1 | b | b (.825) | 1 | 2
b-1-1-i3 | 1 | b | b (.825) | 1 | 3
b-1-3-i1 | 1 | b | b (.825) | 3 | 1
b-1-3-i2 | 1 | b | b (.825) | 3 | 2
b-1-3-i3 | 1 | b | b (.825) | 3 | 3
b-1-5-i1 | 1 | b | b (.825) | 5 | 1
b-1-5-i2 | 1 | b | b (.825) | 5 | 2
b-1-5-i3 | 1 | b | b (.825) | 5 | 3
b-1-10-i1 | 1 | b | b (.825) | 10 | 1
b-1-10-i2 | 1 | b | b (.825) | 10 | 2
b-1-10-i3 | 1 | b | b (.825) | 10 | 3
C-1-0.5-i1 | 1 | C | C | 0.5 | 1
C-1-0.5-i2 | 1 | C | C | 0.5 | 2
C-1-0.5-i3 | 1 | C | C | 0.5 | 3
C-1-1-i1 | 1 | C | C | 1 | 1
C-1-1-i2 | 1 | C | C | 1 | 2
C-1-1-i3 | 1 | C | C | 1 | 3
C-1-3-i1 | 1 | C | C | 3 | 1
C-1-3-i2 | 1 | C | C | 3 | 2
C-1-3-i3 | 1 | C | C | 3 | 3
C-1-5-i1 | 1 | C | C | 5 | 1
C-1-5-i2 | 1 | C | C | 5 | 2
C-1-5-i3 | 1 | C | C | 5 | 3
C-1-10-i1 | 1 | C | C | 10 | 1
C-1-10-i2 | 1 | C | C | 10 | 2
C-1-10-i3 | 1 | C | C | 10 | 3
c-1-0.5-i1 | 1 | c | c | 0.5 | 1
c-1-0.5-i2 | 1 | c | c | 0.5 | 2
c-1-0.5-i3 | 1 | c | c | 0.5 | 3
c-1-1-i1 | 1 | c | c | 1 | 1
c-1-1-i2 | 1 | c | c | 1 | 2
c-1-1-i3 | 1 | c | c | 1 | 3
c-1-3-i1 | 1 | c | c | 3 | 1
c-1-3-i2 | 1 | c | c | 3 | 2
c-1-3-i3 | 1 | c | c | 3 | 3
c-1-5-i1 | 1 | c | c | 5 | 1
c-1-5-i2 | 1 | c | c | 5 | 2
c-1-5-i3 | 1 | c | c | 5 | 3
c-1-10-i1 | 1 | c | c | 10 | 1
c-1-10-i2 | 1 | c | c | 10 | 2
c-1-10-i3 | 1 | c | c | 10 | 3
K-11/4-0.5-i1 | 1 1/4 | K | Copper K | 0.5 | 1
K-11/4-0.5-i2 | 1 1/4 | K | Copper K | 0.5 | 2
K-11/4-0.5-i3 | 1 1/4 | K | Copper K | 0.5 | 3
K-11/4-1-i1 | 1 1/4 | K | Copper K | 1 | 1
K-11/4-1-i2 | 1 1/4 | K | Copper K | 1 | 2
K-11/4-1-i3 | 1 1/4 | K | Copper K | 1 | 3
K-11/4-3-i1 | 1 1/4 | K | Copper K | 3 | 1
K-11/4-3-i2 | 1 1/4 | K | Copper K | 3 | 2
K-11/4-3-i3 | 1 1/4 | K | Copper K | 3 | 3
K-11/4-5-i1 | 1 1/4 | K | Copper K | 5 | 1
K-11/4-5-i2 | 1 1/4 | K | Copper K | 5 | 2
K-11/4-5-i3 | 1 1/4 | K | Copper K | 5 | 3
K-11/4-10-i1 | 1 1/4 | K | Copper K | 10 | 1
K-11/4-10-i2 | 1 1/4 | K | Copper K | 10 | 2
K-11/4-10-i3 | 1 1/4 | K | Copper K | 10 | 3
L-11/4-0.5-i1 | 1 1/4 | L | Copper L | 0.5 | 1
L-11/4-0.5-i2 | 1 1/4 | L | Copper L | 0.5 | 2
L-11/4-0.5-i3 | 1 1/4 | L | Copper L | 0.5 | 3
L-11/4-1-i1 | 1 1/4 | L | Copper L | 1 | 1
L-11/4-1-i2 | 1 1/4 | L | Copper L | 1 | 2
L-11/4-1-i3 | 1 1/4 | L | Copper L | 1 | 3
L-11/4-3-i1 | 1 1/4 | L | Copper L | 3 | 1
L-11/4-3-i2 | 1 1/4 | L | Copper L | 3 | 2
L-11/4-3-i3 | 1 1/4 | L | Copper L | 3 | 3
L-11/4-5-i1 | 1 1/4 | L | Copper L | 5 | 1
L-11/4-5-i2 | 1 1/4 | L | Copper L | 5 | 2
L-11/4-5-i3 | 1 1/4 | L | Copper L | 5 | 3
L-11/4-10-i1 | 1 1/4 | L | Copper L | 10 | 1
L-11/4-10-i2 | 1 1/4 | L | Copper L | 10 | 2
L-11/4-10-i3 | 1 1/4 | L | Copper L | 10 | 3
M-11/4-0.5-i1 | 1 1/4 | M | Copper M | 0.5 | 1
M-11/4-0.5-i2 | 1 1/4 | M | Copper M | 0.5 | 2
M-11/4-0.5-i3 | 1 1/4 | M | Copper M | 0.5 | 3
M-11/4-1-i1 | 1 1/4 | M | Copper M | 1 | 1
M-11/4-1-i2 | 1 1/4 | M | Copper M | 1 | 2
M-11/4-1-i3 | 1 1/4 | M | Copper M | 1 | 3
M-11/4-3-i1 | 1 1/4 | M | Copper M | 3 | 1
M-11/4-3-i2 | 1 1/4 | M | Copper M | 3 | 2
M-11/4-3-i3 | 1 1/4 | M | Copper M | 3 | 3
M-11/4-5-i1 | 1 1/4 | M | Copper M | 5 | 1
M-11/4-5-i2 | 1 1/4 | M | Copper M | 5 | 2
M-11/4-5-i3 | 1 1/4 | M | Copper M | 5 | 3
M-11/4-10-i1 | 1 1/4 | M | Copper M | 10 | 1
M-11/4-10-i2 | 1 1/4 | M | Copper M | 10 | 2
M-11/4-10-i3 | 1 1/4 | M | Copper M | 10 | 3
P-11/4-0.5-i1 | 1 1/4 | P | PVC-40 | 0.5 | 1
P-11/4-0.5-i2 | 1 1/4 | P | PVC-40 | 0.5 | 2
P-11/4-0.5-i3 | 1 1/4 | P | PVC-40 | 0.5 | 3
P-11/4-1-i1 | 1 1/4 | P | PVC-40 | 1 | 1
P-11/4-1-i2 | 1 1/4 | P | PVC-40 | 1 | 2
P-11/4-1-i3 | 1 1/4 | P | PVC-40 | 1 | 3
P-11/4-3-i1 | 1 1/4 | P | PVC-40 | 3 | 1
P-11/4-3-i2 | 1 1/4 | P | PVC-40 | 3 | 2
P-11/4-3-i3 | 1 1/4 | P | PVC-40 | 3 | 3
P-11/4-5-i1 | 1 1/4 | P | PVC-40 | 5 | 1
P-11/4-5-i2 | 1 1/4 | P | PVC-40 | 5 | 2
P-11/4-5-i3 | 1 1/4 | P | PVC-40 | 5 | 3
P-11/4-10-i1 | 1 1/4 | P | PVC-40 | 10 | 1
P-11/4-10-i2 | 1 1/4 | P | PVC-40 | 10 | 2
P-11/4-10-i3 | 1 1/4 | P | PVC-40 | 10 | 3
X-11/4-0.5-i1 | 1 1/4 | X | PEX-A | 0.5 | 1
X-11/4-0.5-i2 | 1 1/4 | X | PEX-A | 0.5 | 2
X-11/4-0.5-i3 | 1 1/4 | X | PEX-A | 0.5 | 3
X-11/4-1-i1 | 1 1/4 | X | PEX-A | 1 | 1
X-11/4-1-i2 | 1 1/4 | X | PEX-A | 1 | 2
X-11/4-1-i3 | 1 1/4 | X | PEX-A | 1 | 3
X-11/4-3-i1 | 1 1/4 | X | PEX-A | 3 | 1
X-11/4-3-i2 | 1 1/4 | X | PEX-A | 3 | 2
X-11/4-3-i3 | 1 1/4 | X | PEX-A | 3 | 3
X-11/4-5-i1 | 1 1/4 | X | PEX-A | 5 | 1
X-11/4-5-i2 | 1 1/4 | X | PEX-A | 5 | 2
X-11/4-5-i3 | 1 1/4 | X | PEX-A | 5 | 3
X-11/4-10-i1 | 1 1/4 | X | PEX-A | 10 | 1
X-11/4-10-i2 | 1 1/4 | X | PEX-A | 10 | 2
X-11/4-10-i3 | 1 1/4 | X | PEX-A | 10 | 3
p-11/4-0.5-i1 | 1 1/4 | p | PVC-80 | 0.5 | 1
p-11/4-0.5-i2 | 1 1/4 | p | PVC-80 | 0.5 | 2
p-11/4-0.5-i3 | 1 1/4 | p | PVC-80 | 0.5 | 3
p-11/4-1-i1 | 1 1/4 | p | PVC-80 | 1 | 1
p-11/4-1-i2 | 1 1/4 | p | PVC-80 | 1 | 2
p-11/4-1-i3 | 1 1/4 | p | PVC-80 | 1 | 3
p-11/4-3-i1 | 1 1/4 | p | PVC-80 | 3 | 1
p-11/4-3-i2 | 1 1/4 | p | PVC-80 | 3 | 2
p-11/4-3-i3 | 1 1/4 | p | PVC-80 | 3 | 3
p-11/4-5-i1 | 1 1/4 | p | PVC-80 | 5 | 1
p-11/4-5-i2 | 1 1/4 | p | PVC-80 | 5 | 2
p-11/4-5-i3 | 1 1/4 | p | PVC-80 | 5 | 3
p-11/4-10-i1 | 1 1/4 | p | PVC-80 | 10 | 1
p-11/4-10-i2 | 1 1/4 | p | PVC-80 | 10 | 2
p-11/4-10-i3 | 1 1/4 | p | PVC-80 | 10 | 3
x-11/4-0.5-i1 | 1 1/4 | x | PEX-B | 0.5 | 1
x-11/4-0.5-i2 | 1 1/4 | x | PEX-B | 0.5 | 2
x-11/4-0.5-i3 | 1 1/4 | x | PEX-B | 0.5 | 3
x-11/4-1-i1 | 1 1/4 | x | PEX-B | 1 | 1
x-11/4-1-i2 | 1 1/4 | x | PEX-B | 1 | 2
x-11/4-1-i3 | 1 1/4 | x | PEX-B | 1 | 3
x-11/4-3-i1 | 1 1/4 | x | PEX-B | 3 | 1
x-11/4-3-i2 | 1 1/4 | x | PEX-B | 3 | 2
x-11/4-3-i3 | 1 1/4 | x | PEX-B | 3 | 3
x-11/4-5-i1 | 1 1/4 | x | PEX-B | 5 | 1
x-11/4-5-i2 | 1 1/4 | x | PEX-B | 5 | 2
x-11/4-5-i3 | 1 1/4 | x | PEX-B | 5 | 3
x-11/4-10-i1 | 1 1/4 | x | PEX-B | 10 | 1
x-11/4-10-i2 | 1 1/4 | x | PEX-B | 10 | 2
x-11/4-10-i3 | 1 1/4 | x | PEX-B | 10 | 3
B-11/4-0.5-i1 | 1 1/4 | B | B (.815) | 0.5 | 1
B-11/4-0.5-i2 | 1 1/4 | B | B (.815) | 0.5 | 2
B-11/4-0.5-i3 | 1 1/4 | B | B (.815) | 0.5 | 3
B-11/4-1-i1 | 1 1/4 | B | B (.815) | 1 | 1
B-11/4-1-i2 | 1 1/4 | B | B (.815) | 1 | 2
B-11/4-1-i3 | 1 1/4 | B | B (.815) | 1 | 3
B-11/4-3-i1 | 1 1/4 | B | B (.815) | 3 | 1
B-11/4-3-i2 | 1 1/4 | B | B (.815) | 3 | 2
B-11/4-3-i3 | 1 1/4 | B | B (.815) | 3 | 3
B-11/4-5-i1 | 1 1/4 | B | B (.815) | 5 | 1
B-11/4-5-i2 | 1 1/4 | B | B (.815) | 5 | 2
B-11/4-5-i3 | 1 1/4 | B | B (.815) | 5 | 3
B-11/4-10-i1 | 1 1/4 | B | B (.815) | 10 | 1
B-11/4-10-i2 | 1 1/4 | B | B (.815) | 10 | 2
B-11/4-10-i3 | 1 1/4 | B | B (.815) | 10 | 3
b-11/4-0.5-i1 | 1 1/4 | b | b (.825) | 0.5 | 1
b-11/4-0.5-i2 | 1 1/4 | b | b (.825) | 0.5 | 2
b-11/4-0.5-i3 | 1 1/4 | b | b (.825) | 0.5 | 3
b-11/4-1-i1 | 1 1/4 | b | b (.825) | 1 | 1
b-11/4-1-i2 | 1 1/4 | b | b (.825) | 1 | 2
b-11/4-1-i3 | 1 1/4 | b | b (.825) | 1 | 3
b-11/4-3-i1 | 1 1/4 | b | b (.825) | 3 | 1
b-11/4-3-i2 | 1 1/4 | b | b (.825) | 3 | 2
b-11/4-3-i3 | 1 1/4 | b | b (.825) | 3 | 3
b-11/4-5-i1 | 1 1/4 | b | b (.825) | 5 | 1
b-11/4-5-i2 | 1 1/4 | b | b (.825) | 5 | 2
b-11/4-5-i3 | 1 1/4 | b | b (.825) | 5 | 3
b-11/4-10-i1 | 1 1/4 | b | b (.825) | 10 | 1
b-11/4-10-i2 | 1 1/4 | b | b (.825) | 10 | 2
b-11/4-10-i3 | 1 1/4 | b | b (.825) | 10 | 3
C-11/4-0.5-i1 | 1 1/4 | C | C | 0.5 | 1
C-11/4-0.5-i2 | 1 1/4 | C | C | 0.5 | 2
C-11/4-0.5-i3 | 1 1/4 | C | C | 0.5 | 3
C-11/4-1-i1 | 1 1/4 | C | C | 1 | 1
C-11/4-1-i2 | 1 1/4 | C | C | 1 | 2
C-11/4-1-i3 | 1 1/4 | C | C | 1 | 3
C-11/4-3-i1 | 1 1/4 | C | C | 3 | 1
C-11/4-3-i2 | 1 1/4 | C | C | 3 | 2
C-11/4-3-i3 | 1 1/4 | C | C | 3 | 3
C-11/4-5-i1 | 1 1/4 | C | C | 5 | 1
C-11/4-5-i2 | 1 1/4 | C | C | 5 | 2
C-11/4-5-i3 | 1 1/4 | C | C | 5 | 3
C-11/4-10-i1 | 1 1/4 | C | C | 10 | 1
C-11/4-10-i2 | 1 1/4 | C | C | 10 | 2
C-11/4-10-i3 | 1 1/4 | C | C | 10 | 3
c-11/4-0.5-i1 | 1 1/4 | c | c | 0.5 | 1
c-11/4-0.5-i2 | 1 1/4 | c | c | 0.5 | 2
c-11/4-0.5-i3 | 1 1/4 | c | c | 0.5 | 3
c-11/4-1-i1 | 1 1/4 | c | c | 1 | 1
c-11/4-1-i2 | 1 1/4 | c | c | 1 | 2
c-11/4-1-i3 | 1 1/4 | c | c | 1 | 3
c-11/4-3-i1 | 1 1/4 | c | c | 3 | 1
c-11/4-3-i2 | 1 1/4 | c | c | 3 | 2
c-11/4-3-i3 | 1 1/4 | c | c | 3 | 3
c-11/4-5-i1 | 1 1/4 | c | c | 5 | 1
c-11/4-5-i2 | 1 1/4 | c | c | 5 | 2
c-11/4-5-i3 | 1 1/4 | c | c | 5 | 3
c-11/4-10-i1 | 1 1/4 | c | c | 10 | 1
c-11/4-10-i2 | 1 1/4 | c | c | 10 | 2
c-11/4-10-i3 | 1 1/4 | c | c | 10 | 3
K-11/2-0.5-i1 | 1 1/2 | K | Copper K | 0.5 | 1
K-11/2-0.5-i2 | 1 1/2 | K | Copper K | 0.5 | 2
K-11/2-0.5-i3 | 1 1/2 | K | Copper K | 0.5 | 3
K-11/2-1-i1 | 1 1/2 | K | Copper K | 1 | 1
K-11/2-1-i2 | 1 1/2 | K | Copper K | 1 | 2
K-11/2-1-i3 | 1 1/2 | K | Copper K | 1 | 3
K-11/2-3-i1 | 1 1/2 | K | Copper K | 3 | 1
K-11/2-3-i2 | 1 1/2 | K | Copper K | 3 | 2
K-11/2-3-i3 | 1 1/2 | K | Copper K | 3 | 3
K-11/2-5-i1 | 1 1/2 | K | Copper K | 5 | 1
K-11/2-5-i2 | 1 1/2 | K | Copper K | 5 | 2
K-11/2-5-i3 | 1 1/2 | K | Copper K | 5 | 3
K-11/2-10-i1 | 1 1/2 | K | Copper K | 10 | 1
K-11/2-10-i2 | 1 1/2 | K | Copper K | 10 | 2
K-11/2-10-i3 | 1 1/2 | K | Copper K | 10 | 3
L-11/2-0.5-i1 | 1 1/2 | L | Copper L | 0.5 | 1
L-11/2-0.5-i2 | 1 1/2 | L | Copper L | 0.5 | 2
L-11/2-0.5-i3 | 1 1/2 | L | Copper L | 0.5 | 3
L-11/2-1-i1 | 1 1/2 | L | Copper L | 1 | 1
L-11/2-1-i2 | 1 1/2 | L | Copper L | 1 | 2
L-11/2-1-i3 | 1 1/2 | L | Copper L | 1 | 3
L-11/2-3-i1 | 1 1/2 | L | Copper L | 3 | 1
L-11/2-3-i2 | 1 1/2 | L | Copper L | 3 | 2
L-11/2-3-i3 | 1 1/2 | L | Copper L | 3 | 3
L-11/2-5-i1 | 1 1/2 | L | Copper L | 5 | 1
L-11/2-5-i2 | 1 1/2 | L | Copper L | 5 | 2
L-11/2-5-i3 | 1 1/2 | L | Copper L | 5 | 3
L-11/2-10-i1 | 1 1/2 | L | Copper L | 10 | 1
L-11/2-10-i2 | 1 1/2 | L | Copper L | 10 | 2
L-11/2-10-i3 | 1 1/2 | L | Copper L | 10 | 3
M-11/2-0.5-i1 | 1 1/2 | M | Copper M | 0.5 | 1
M-11/2-0.5-i2 | 1 1/2 | M | Copper M | 0.5 | 2
M-11/2-0.5-i3 | 1 1/2 | M | Copper M | 0.5 | 3
M-11/2-1-i1 | 1 1/2 | M | Copper M | 1 | 1
M-11/2-1-i2 | 1 1/2 | M | Copper M | 1 | 2
M-11/2-1-i3 | 1 1/2 | M | Copper M | 1 | 3
M-11/2-3-i1 | 1 1/2 | M | Copper M | 3 | 1
M-11/2-3-i2 | 1 1/2 | M | Copper M | 3 | 2
M-11/2-3-i3 | 1 1/2 | M | Copper M | 3 | 3
M-11/2-5-i1 | 1 1/2 | M | Copper M | 5 | 1
M-11/2-5-i2 | 1 1/2 | M | Copper M | 5 | 2
M-11/2-5-i3 | 1 1/2 | M | Copper M | 5 | 3
M-11/2-10-i1 | 1 1/2 | M | Copper M | 10 | 1
M-11/2-10-i2 | 1 1/2 | M | Copper M | 10 | 2
M-11/2-10-i3 | 1 1/2 | M | Copper M | 10 | 3
P-11/2-0.5-i1 | 1 1/2 | P | PVC-40 | 0.5 | 1
P-11/2-0.5-i2 | 1 1/2 | P | PVC-40 | 0.5 | 2
P-11/2-0.5-i3 | 1 1/2 | P | PVC-40 | 0.5 | 3
P-11/2-1-i1 | 1 1/2 | P | PVC-40 | 1 | 1
P-11/2-1-i2 | 1 1/2 | P | PVC-40 | 1 | 2
P-11/2-1-i3 | 1 1/2 | P | PVC-40 | 1 | 3
P-11/2-3-i1 | 1 1/2 | P | PVC-40 | 3 | 1
P-11/2-3-i2 | 1 1/2 | P | PVC-40 | 3 | 2
P-11/2-3-i3 | 1 1/2 | P | PVC-40 | 3 | 3
P-11/2-5-i1 | 1 1/2 | P | PVC-40 | 5 | 1
P-11/2-5-i2 | 1 1/2 | P | PVC-40 | 5 | 2
P-11/2-5-i3 | 1 1/2 | P | PVC-40 | 5 | 3
P-11/2-10-i1 | 1 1/2 | P | PVC-40 | 10 | 1
P-11/2-10-i2 | 1 1/2 | P | PVC-40 | 10 | 2
P-11/2-10-i3 | 1 1/2 | P | PVC-40 | 10 | 3
X-11/2-0.5-i1 | 1 1/2 | X | PEX-A | 0.5 | 1
X-11/2-0.5-i2 | 1 1/2 | X | PEX-A | 0.5 | 2
X-11/2-0.5-i3 | 1 1/2 | X | PEX-A | 0.5 | 3
X-11/2-1-i1 | 1 1/2 | X | PEX-A | 1 | 1
X-11/2-1-i2 | 1 1/2 | X | PEX-A | 1 | 2
X-11/2-1-i3 | 1 1/2 | X | PEX-A | 1 | 3
X-11/2-3-i1 | 1 1/2 | X | PEX-A | 3 | 1
X-11/2-3-i2 | 1 1/2 | X | PEX-A | 3 | 2
X-11/2-3-i3 | 1 1/2 | X | PEX-A | 3 | 3
X-11/2-5-i1 | 1 1/2 | X | PEX-A | 5 | 1
X-11/2-5-i2 | 1 1/2 | X | PEX-A | 5 | 2
X-11/2-5-i3 | 1 1/2 | X | PEX-A | 5 | 3
X-11/2-10-i1 | 1 1/2 | X | PEX-A | 10 | 1
X-11/2-10-i2 | 1 1/2 | X | PEX-A | 10 | 2
X-11/2-10-i3 | 1 1/2 | X | PEX-A | 10 | 3
p-11/2-0.5-i1 | 1 1/2 | p | PVC-80 | 0.5 | 1
p-11/2-0.5-i2 | 1 1/2 | p | PVC-80 | 0.5 | 2
p-11/2-0.5-i3 | 1 1/2 | p | PVC-80 | 0.5 | 3
p-11/2-1-i1 | 1 1/2 | p | PVC-80 | 1 | 1
p-11/2-1-i2 | 1 1/2 | p | PVC-80 | 1 | 2
p-11/2-1-i3 | 1 1/2 | p | PVC-80 | 1 | 3
p-11/2-3-i1 | 1 1/2 | p | PVC-80 | 3 | 1
p-11/2-3-i2 | 1 1/2 | p | PVC-80 | 3 | 2
p-11/2-3-i3 | 1 1/2 | p | PVC-80 | 3 | 3
p-11/2-5-i1 | 1 1/2 | p | PVC-80 | 5 | 1
p-11/2-5-i2 | 1 1/2 | p | PVC-80 | 5 | 2
p-11/2-5-i3 | 1 1/2 | p | PVC-80 | 5 | 3
p-11/2-10-i1 | 1 1/2 | p | PVC-80 | 10 | 1
p-11/2-10-i2 | 1 1/2 | p | PVC-80 | 10 | 2
p-11/2-10-i3 | 1 1/2 | p | PVC-80 | 10 | 3
x-11/2-0.5-i1 | 1 1/2 | x | PEX-B | 0.5 | 1
x-11/2-0.5-i2 | 1 1/2 | x | PEX-B | 0.5 | 2
x-11/2-0.5-i3 | 1 1/2 | x | PEX-B | 0.5 | 3
x-11/2-1-i1 | 1 1/2 | x | PEX-B | 1 | 1
x-11/2-1-i2 | 1 1/2 | x | PEX-B | 1 | 2
x-11/2-1-i3 | 1 1/2 | x | PEX-B | 1 | 3
x-11/2-3-i1 | 1 1/2 | x | PEX-B | 3 | 1
x-11/2-3-i2 | 1 1/2 | x | PEX-B | 3 | 2
x-11/2-3-i3 | 1 1/2 | x | PEX-B | 3 | 3
x-11/2-5-i1 | 1 1/2 | x | PEX-B | 5 | 1
x-11/2-5-i2 | 1 1/2 | x | PEX-B | 5 | 2
x-11/2-5-i3 | 1 1/2 | x | PEX-B | 5 | 3
x-11/2-10-i1 | 1 1/2 | x | PEX-B | 10 | 1
x-11/2-10-i2 | 1 1/2 | x | PEX-B | 10 | 2
x-11/2-10-i3 | 1 1/2 | x | PEX-B | 10 | 3
B-11/2-0.5-i1 | 1 1/2 | B | B (.815) | 0.5 | 1
B-11/2-0.5-i2 | 1 1/2 | B | B (.815) | 0.5 | 2
B-11/2-0.5-i3 | 1 1/2 | B | B (.815) | 0.5 | 3
B-11/2-1-i1 | 1 1/2 | B | B (.815) | 1 | 1
B-11/2-1-i2 | 1 1/2 | B | B (.815) | 1 | 2
B-11/2-1-i3 | 1 1/2 | B | B (.815) | 1 | 3
B-11/2-3-i1 | 1 1/2 | B | B (.815) | 3 | 1
B-11/2-3-i2 | 1 1/2 | B | B (.815) | 3 | 2
B-11/2-3-i3 | 1 1/2 | B | B (.815) | 3 | 3
B-11/2-5-i1 | 1 1/2 | B | B (.815) | 5 | 1
B-11/2-5-i2 | 1 1/2 | B | B (.815) | 5 | 2
B-11/2-5-i3 | 1 1/2 | B | B (.815) | 5 | 3
B-11/2-10-i1 | 1 1/2 | B | B (.815) | 10 | 1
B-11/2-10-i2 | 1 1/2 | B | B (.815) | 10 | 2
B-11/2-10-i3 | 1 1/2 | B | B (.815) | 10 | 3
b-11/2-0.5-i1 | 1 1/2 | b | b (.825) | 0.5 | 1
b-11/2-0.5-i2 | 1 1/2 | b | b (.825) | 0.5 | 2
b-11/2-0.5-i3 | 1 1/2 | b | b (.825) | 0.5 | 3
b-11/2-1-i1 | 1 1/2 | b | b (.825) | 1 | 1
b-11/2-1-i2 | 1 1/2 | b | b (.825) | 1 | 2
b-11/2-1-i3 | 1 1/2 | b | b (.825) | 1 | 3
b-11/2-3-i1 | 1 1/2 | b | b (.825) | 3 | 1
b-11/2-3-i2 | 1 1/2 | b | b (.825) | 3 | 2
b-11/2-3-i3 | 1 1/2 | b | b (.825) | 3 | 3
b-11/2-5-i1 | 1 1/2 | b | b (.825) | 5 | 1
b-11/2-5-i2 | 1 1/2 | b | b (.825) | 5 | 2
b-11/2-5-i3 | 1 1/2 | b | b (.825) | 5 | 3
b-11/2-10-i1 | 1 1/2 | b | b (.825) | 10 | 1
b-11/2-10-i2 | 1 1/2 | b | b (.825) | 10 | 2
b-11/2-10-i3 | 1 1/2 | b | b (.825) | 10 | 3
C-11/2-0.5-i1 | 1 1/2 | C | C | 0.5 | 1
C-11/2-0.5-i2 | 1 1/2 | C | C | 0.5 | 2
C-11/2-0.5-i3 | 1 1/2 | C | C | 0.5 | 3
C-11/2-1-i1 | 1 1/2 | C | C | 1 | 1
C-11/2-1-i2 | 1 1/2 | C | C | 1 | 2
C-11/2-1-i3 | 1 1/2 | C | C | 1 | 3
C-11/2-3-i1 | 1 1/2 | C | C | 3 | 1
C-11/2-3-i2 | 1 1/2 | C | C | 3 | 2
C-11/2-3-i3 | 1 1/2 | C | C | 3 | 3
C-11/2-5-i1 | 1 1/2 | C | C | 5 | 1
C-11/2-5-i2 | 1 1/2 | C | C | 5 | 2
C-11/2-5-i3 | 1 1/2 | C | C | 5 | 3
C-11/2-10-i1 | 1 1/2 | C | C | 10 | 1
C-11/2-10-i2 | 1 1/2 | C | C | 10 | 2
C-11/2-10-i3 | 1 1/2 | C | C | 10 | 3
c-11/2-0.5-i1 | 1 1/2 | c | c | 0.5 | 1
c-11/2-0.5-i2 | 1 1/2 | c | c | 0.5 | 2
c-11/2-0.5-i3 | 1 1/2 | c | c | 0.5 | 3
c-11/2-1-i1 | 1 1/2 | c | c | 1 | 1
c-11/2-1-i2 | 1 1/2 | c | c | 1 | 2
c-11/2-1-i3 | 1 1/2 | c | c | 1 | 3
c-11/2-3-i1 | 1 1/2 | c | c | 3 | 1
c-11/2-3-i2 | 1 1/2 | c | c | 3 | 2
c-11/2-3-i3 | 1 1/2 | c | c | 3 | 3
c-11/2-5-i1 | 1 1/2 | c | c | 5 | 1
c-11/2-5-i2 | 1 1/2 | c | c | 5 | 2
c-11/2-5-i3 | 1 1/2 | c | c | 5 | 3
c-11/2-10-i1 | 1 1/2 | c | c | 10 | 1
c-11/2-10-i2 | 1 1/2 | c | c | 10 | 2
c-11/2-10-i3 | 1 1/2 | c | c | 10 | 3

## Lf Tables
CURRENT lFactorsM (compiled, measure.c @ efe997a) |  |  |  |  | Source: DuneFW_L5_2 Core/Src/measure.c lines 328-337
| K | L | M | P | X | p | x | B | b | C | c
3/8 | 2.13 | 2.255 | 2.255 | 2.13 | 2.22 | 2.13 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22
1/2 | 2.13 | 2.255 | 2.255 | 2.13 | 2.22 | 2.13 | 2.22 | 2.22 | 2.22 | 2.22 | 2.22
3/4 | 2.13 | 2.255 | 2.255 | 2.211 | 2.27 | 2.23 | 2.25 | 2.25 | 2.25 | 2.3 | 2.25
1 | 2.13 | 2.255 | 2.255 | 2.13 | 2.265 | 2.13 | 2.265 | 2.26 | 2.26 | 2.26 | 2.26
1 1/4 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13
1 1/2 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13 | 2.13
CURRENT pipeDiameters (in) | Source: DuneFW_L5_2 Core/Src/measure.c lines 328-337 X: Source: measure.c lines 317-326; 1.000 entries are placeholders
| K | L | M | P | X | p | x | B | b | C | c
3/8 | 0.402 | 0.43 | 0.45 | 0.493 | 0.485 | 0.423 | 0.485 | 0.815 | 0.825 | 0.493 | 0.423
1/2 | 0.527 | 0.545 | 0.569 | 0.602 | 0.485 | 0.526 | 0.485 | 0.815 | 0.825 | 0.622 | 0.546
3/4 | 0.745 | 0.785 | 0.811 | 0.804 | 0.681 | 0.722 | 0.681 | 0.815 | 0.825 | 0.824 | 0.742
1 | 0.995 | 1.025 | 1.055 | 1.029 | 0.875 | 0.936 | 0.875 | 0.815 | 0.825 | 0.815 | 0.825
1 1/4 | 1.245 | 1.265 | 1.291 | 1 | 1 | 1 | 1 | 0.815 | 0.825 | 0.815 | 0.825
1 1/2 | 1.481 | 1.505 | 1.527 | 1 | 1 | 1 | 1 | 0.815 | 0.825 | 0.815 | 0.825
OPTIMIZED Lf (Claude fills as fits complete; blank = not yet fitted) | Source: measure.c lines 317-326; 1.000 entries are placeholders X: Provisional entries carry a cell note
| K | L | M | P | X | p | x | B | b | C | c
3/8
1/2
3/4 | P: 2.211
1
1 1/4
1 1/2
DELTA (Optimized - Current)
| K | L | M | P | X | p | x | B | b | C | c
3/8
1/2
3/4
1
1 1/4
1 1/2
Note on E23: CONFIRMED 8/8: compiled table value 2.211 is correct. Volumetric 10.0 gal @ 2 gpm read -0.6% (back-solved Lf 2.209 +/- 0.003); 4.22 gpm rate check -1.5%. frc=1, no attr overrides - measured K 2.99162e-4 = table K exactly. Earlier 2.135 recommendation retracted (Claude arithmetic error, D^2 vs D). No table change needed. - Claude

## Rigs
Size | Type | Material | Rig / location | TB device names | Notes
3/4 | P | PVC-40 | TB group: Flow Testing (tenant owner) | 70273063, 72714423, 70268147, 72718549, 72722129, 75372175 | 6-meter series manifold; group id 79b9d5f0-9343-11f1-a1a6-391af391818e; campaign attrs (lFactor/frc/piezo) scope to THIS group, not FOTA Test-Cust
3/4 | M | Copper M | Board 2 bench | 79454912 | SWD/console bench board; fwVer 17029? verify before use
3/4 | X | PEX-A | Wyse bench | 79459697, 79457055, 79459630 | '055 = known acoustic outlier, exclude from fits; verify pipetype attr X vs x

## 50gal Corrected
PVC-40 3/4" 50-gal runs — k(Re) corrected. k(t)=1-0.1139*t^2-0.0318*t^3, t=ln(Re/7900), identity Re>=7900, clamp k>=0.80. Re=3934*gpm (3/4" PVC, ~20C). Fitted from this dataset 8/8-8/9 (1gpm anchor excludes 72714423, >2x IQR).
Device | Rate (gpm) | Re | Raw event (gal) | Raw err % | k (formula) | Corrected (gal) | Corr err %
70273063 | 5 |  | 50.123
72714423 | 5 |  | 50.917
70268147 | 5 |  | 50.655
72718549 | 5 |  | 48.627
72722129 | 5 |  | 49.685
75372175 | 5 |  | 50.458
70273063 | 1 |  | 50.865
72714423 | 1 |  | 58.409
70268147 | 1 |  | 53.134
72718549 | 1 |  | 52.882
72722129 | 1 |  | 53.006
75372175 | 1 |  | 51.766
70273063 | 0.5 |  | 59.391
72714423 | 0.5 |  | 55.79
70268147 | 0.5 |  | 58.972
72718549 | 0.5 |  | 53.593
72722129 | 0.5 |  | 62.179
75372175 | 0.5 |  | 56.791
MEAN 5 gpm
MEAN 1 gpm
MEAN 0.5 gpm
70273063 | 7 |  | 50.647
72714423 | 7 |  | 50.276
70268147 | 7 |  | 51.106
72718549 | 7 |  | 48.617
72722129 | 7 |  | 49.096
75372175 | 7 |  | 50.291
MEAN 7 gpm